Aktiv vibration isolation

Manual: <hi #fff200>TODO</hi>

three modi available: aktiv, transportable, off

Information on aktiv modus:

Information on transportable modus:

Information on off modus:

Important in aktiv modus: The “four bars” VS, HS, VA, HA should be in the upper third of the range for an adequate control range.
Movements in the room have influence of the vibration isolation!