Aktive vibration isolation

We have two stages: R1 & clock laser are on one stage and R2 is on another stage.

Manual: <hi #fff200>TODO</hi>

three modi available: aktive, transportable, off

Information on aktive modus:

Information on transportable modus:

Information on off modus:

Important in aktive modus: The “four bars” VS, HS, VA, HA should be in the upper third of the range for an adequate control range.
Movements in the room have influence of the vibration isolation!