# Jour Fixe
PIA, DF, Ira, NJ, kHz
### General
- Moved to new meeting system: https://meet.uni-hannover.de/MgMeeting
- Electrical safety
  - RCDs have to be installed → Contact Wolfgang Bartosch
    - Best in the Fuse-Box
  - Devices connected to 230V mains need to be checked regularily (at least every 2 years). NO EXCEPTION
    - People can be trained by KMK to do the checks
      - Get at least two people for that
    - Best thing, you create an inventory list like
|Device Type|Manufacturer|Model Number|Serial Number|Comment/Location|Gefährdungsbeurteilung/Manual|Last tested|
- Tip: Work from one side of the room towards the other side of the room and sort the list accordingly
- Testing: Device needs to be taken out of racks etc, so it is not somehow in touch with protective earth grounding via the rack etc
- Write a Betriebsanweisung + Gefährdungsbeurteilung per Device-Class and link it to your device. This is on top of having a manual linked to it
- Devices connected to 230…
  - … are not allowed to be used, if they are not tested or have no valid sticker anymore
  - … are not to be operated by a person, who has not studied the Betriebsanweisung/Gefährdungsbeurteilung for this device yet.
- Gefährdungsbeurteilung/Betriebsanweisung of the lab need to be updated
  - Add point, regarding the 230V rules above
  - Add point, that devices need to be regularily tested
  - Add point, where thise inventory list is to be found
### Mg
- Nishad working on integration of Toptica SHG
  - Coupling to cavity mostly done
  - Only ~ 2 mW
  - This week: UV
- NJ thesis corrections from Ernst implemented
- DDS project
  - Scanned some sweeps + evaluating data
    - Last week: 10 ms scan
    - This week: 1 ms
      - Data looks not so good as the last week.
      - Should not be related to the oszi (4 GS) → Settings?
### ResLab
Still nobody working there