Meeting notes 15.11.21

Present: NW, KZ, IH, DF

Things to discuss:

Power Shutdown: next

RCD: Bartosch: waiting for response

Cleaning of the windows: today or tomorrow

Nishad:

Toptica output: 7% → 2.5mW is installed now

: 10% → 30 mW, but diode current has to be increased for 250€ excl vat.

SHG: can´t be locked due to the lock of laser 4, in scanning mode in uW range

inmplemented phaseshifter