Frequency fluctuation effects general

Effects of fluctuation	Part of fluctuation	Reduction of effect	Measurement method
Vibration	stable mounting design & passive/active vibration isolation
Temperature	thermal isolation from environment: temperature stabilized vacuum chamber & heat shields
Acustic	acoustic isolation box & vacuum chamber
Intensity	intensity stabilization
Vacuum	low pressure & stable pressure
Lock PDH	temperature stabilization of EOM & using Glan thompson polarizer
Lock RAM
Beam pointing	?
Brownian noise	?	<fc #ff0000>see XX</fc>