Highfinesse Wavemeter WS/6-200

Calibration with the Wutz-light is necessary at least once a year! Otherwise the wavemeter doesn´t show the right frequency, because it has a drift!
Don´t forget to push the “Start” button