# Seismometer Cable and Box
To connect the 14-pin output of the Titan Accelerometer you would either have to buy the proprietary cable with it's connectors and analyzer from Nanometrics or use the box and cable described here.
## Schematics Used
Titan User Guide [Page 51 is important]
## Cable
For the connecting cable between the 14-pin connector and the box we used a CAT network-cable (<fc #ffa500>orange</fc>) connected via SubD-15 and a standardized SubD-9 cable (<fc #c0c0c0>grey</fc>) with it's connector. The wires are split up into two different cables to ensure that the X-, Y- and Z-axis signals are completely shielded, hence the CAT network-cable. The analog ground signal is also fed through the shielded network cable. All the other wires go through the SubD-9 cable.
#### 14-Pin Side

#### SubD-15 Side

Pin No.	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15
Name	+X	free	free	+Y	free	free	+Z	AGND	-X	free	free	-Y	free	free	-Z
Function	positive X axis output	none	none	positive Y axis output	none	none	positive Z axis output	analog ground	negative X axis output	none	none	negative Y axis output	none	none	negative Z axis output
Color	<fc #6495ed>blue</fc>	none	none	<fc #ffa500>orange</fc>	none	none	<fc #008000>green</fc>	<fc #800000>brown</fc>	white with <fc #6495ed>blue strip</fc>	none	none	white with <fc #ffa500>orange stripe</fc>	none	none	white with <fc #008000>green stripe</fc>