Seal material and vacuum suitable glue

Indium

Company: Cryo and more (https://www.cryoandmoreshop.de/products/laboratory-essentials/supplies/)

Melting Point: 155°C

Indium wire

Typ: SCBind04

Purity: 99.99%

Diameter: 1mm

Glue

Company: -

Name: Torrseal

Flash Point: 175°C

Mischverhältnis: 1:2

Datasheet: https://www.lesker.com/newweb/fluids/sealants_epoxy.cfm?pgid=torrseal