Maser: A. Bauch will take care on that
S. Sauer:
- PCF is ordered: will arrive this week
- OXCO behaviour checked after switching off and on again and also with backup upc
- gps reciver on/off behaviour checked
Atom Lab:
- Laser 2 TA changed, translation stage for the zylindrical lens implemented
- 50% through fiber due to new Diodes: beam shape more elongated, since than problems with fiber coupling,
- new pc for Xabbu3, money will come from vlbai,
- Balcony still not allowed to enter, we will prepare everything for the worst case, discuss with Ernst
- no Notstrom availble (power is supplied by batteries)
Quench laser:
- got rid of frequency jumps by implementing new temperature controller at the diode (from kmk design to thorlabs)
- intensity fluctuations removed by aligning the polarization to the fiber
- Beam height aligned
- Waldemar calculated scattering rate to 1k at 20mW and 350um.
2nd Atom lab: part will go to QG, Saturation spectroscopy to Main lab, discussion an Wednesday with Ernst on that
Next meeting: 6.01.