Racks

TODO: Spannungsversorgungen + Spannung mit reinmachen, Manuals reinmachen, Fotos

Rack 1

\\

Synthesizer (4xMarconi Synthesizer,2x “Rohde & Schwarz”)

Rubidium clock from “Stanford research systems”

Meerstetter temperature controller (R1&R2)

1064nm laser from “Innolight” (Q-Port)

Rack 2 / Frequency comb

Control electronic for frequency comb

GPS receiver

OXCO

10 MHz distributor

K+K counter

Tracker

DDS

Rack 3 / Clock laser

Out of loop temperature-measuring instrument from R1 & R2 ???

Meersteter temperature controller (ECDL)

Fiber stabilisation PID

RAM-PID ???

Intensity locking for R1?

TA stabilization???

kleine Kiste???

Synthesizer?

Thorlabs control instrument for laser diode and TA

Wavemeter (Model: Wavelength meter WS-6, Ångström, HighFinesse) Welches Model Genau?

Laptop “ResLab Mobil”

Monitor for CCD-Cameras (R1&R2)

Rack 4 / Cavity

Intensity Lock PID for R2

RAM-PID for R2

2x aktiv vibration isolation controllers

2x IGP controllers

ME-Redcard instrument

Synthesizer

Rack 5 / Amplifier

5x amplifiers (Modelnummer, Datasheet, welchen Verstärker für was mit Eingang und Ausgang dBm)

power supply (max. 5A)

power distributor box