30.09.2016 Transport from Maser & DDS

Maser

PTB → Hannover

Maser-Software “Monitor VCH-1006” installed on ResLab-Maser-Laptop

Maser & Software work at IQ

Maser Datasheet:

Maser has a AC (rechargeable battery) and DC (Schuko) port

borrowed from PTB:

Maser manual: h-maser_maintenance_and_service_manual.pdf

Maser software manual: h-maser_program_monitor_vch-1006.pdf

DDS

we got a new DDS with USB port

we got Software for programming the “Old=SubD9”- and “New=USB”-DDS

Datasheet for the USB-DDS: