“Virtual” Beat Measurement of Jan's Laser vs Comb.
R1 Temperature 4 mK above Setpoint. → Set Outer from 27,28 → 27,25 (was also 4 mK above); Inner Shield Setpoint change from 27,5 → 27,52 (@ 16:57 Uhr)