# ResLab
- Daily Checklist
- ToDo
## Lab-Setup
- Clocklaser
- Racks
- Resonator 1
- Resonator 2
- Frequency Comb
- Passive Hydrogen Maser
- Rubidium Frequency Standard
- Connections to other Labs
  - Fiber link
  - PTB-IQ-AEI-HiTec-PTB-Fiber connections
- Innolight Mephisto 1064 nm laser
List of Computer-programs
## Measurement schemes
- Virtual Beat
  - Three corner head measurement
- Phase Noise Measurement
- How to do a heterodyne measurement?
- How to measure a beat between the frequency comb and a laser?
- How to measure the finesse without locking the resonator?
## Projects
- Update R2 <fc #ffa500>In process</fc>
  - Active cooling of acoustic box <fc #ffa500>In process</fc>
- 10MHz frequency source <fc #ffa500>In process</fc>
- FiberLink Upgrade <fc #ffa500>In process</fc>
  - Fiber boxes <fc #ffa500>In process</fc>
- Photodiode
- CCD camera
- HTC-3000
- 20-Channel-Multimeter/Rasmus-Box
- Mains filter
- Multi lowpass filter
- Temperture monitoring with raspberry <fc #ffa500>In process</fc>
- Meerstetter <fc #ffa500>In process</fc>
- NTC/PTXXXX test stand <fc #ffa500>In process</fc>
- Ring-down Box <fc #ffa500>In process</fc>
- Monitoring with Redlab <fc #ffa500>In process</fc>
- Masseschleife <fc #ffa500>In process</fc>
## Useful Informations
- A/C: Password for PID Settings: 0123
- Room number: d215
- Checklist after power failure
- Boworringlist: ausleihliste.docx
- Emergeny Checklist ResLab (door label): laboratory_checklist.pdf
- <fc #ff0000>Laser-safety-checklist</fc>
- Fiber optics
- Clock laser fiber
- ITU Channel
- dBm-Volt-Watt-Table
- Wie funktioniert ein Mixxer
- TA Justage
- QR codes