## Sheet1
				Inverntarisierungsliste: Elektrische Geräte				D318

	Gerät	Hersteller	Modelname	Serialnummer	Standort	Zuletzt Kontrolliert	Comments
PC	Wavemeter PC	Fujitsu		YKSNO 245922 K1000-V401-114	Rack shelf 1
	Xabbu3	LG			Rack shelf 1
	Screen	Elitegroup			Left side of Rack shelf 1

Osilloskope

	Frequency Generator	Wavetek	10 MHz DDS Funtion Generator Model 29	55183
	Spectrum Analyzer	Rohde & Schwarz	HMS1010 1.6 Ghz Spectrum Analyzer	019508106	Optical Bench Small
	Power Supply	Elektro-Automatik GmbH & Co.	39200106	2491420208

Treiber	PMT driver	Heitzinger	HN 2500-04		Rack shelf 1
	Dipollaser driver	IPG Photonics	YLR-50-1064-LP	PL1727994

Netzteile
Sonstige

## Sheet2
Bereits Aufgenommen:
	Standort	Status
	Optischer Tisch rechts neben der Eingangstür	in progress

## Device Qty
Oscilloscopes	16
Spectrum Analyzer	3
Signal Generator	6
Function Generator	2

## Sheet4
Serial Number	Category	Item Name	Manufacturer	Model name	Serial number	Location	Last Tested	Comments	Comments 2
1	Oscilloscope	Oscilloscope_1	Rigol	DS1104Z	DS1ZA190401016	Computer Desk	30/11/2021
2	Oscilloscope	Oscilloscope_2	Rigol	DS1104Z	DS1ZA190400726	Computer Desk	11/04/22
3	Oscilloscope	Oscilloscope_3	Rigol	DS1104Z	DS1ZA190400929	Mobile	30/11/2021
4	Oscilloscope	Oscilloscope_4	Agilent Technologies	MSO6104A	MY44002359	Mobile	30/11/2021
5	Oscilloscope	Oscilloscope_5	Hameg	HM303-4	HM 303-4 27/97 Z 31079	Rack Shelf 2	30/11/2021
6	Oscilloscope	Oscilloscope_6	Hameg	HM203-6	HM 203-6 37/86 Z 5451	Rack Shelf 2	30/11/2021
7	Oscilloscope	Oscilloscope_7	Voltcraft	632FG	Q830023	Optical bench: large	30/11/2021
8	Oscilloscope	Oscilloscope_8	Hameg	HM203-6	HM 203-6 37/86 Z 5359	Optical bench Vacuum Chamber	31/01/2022
9	Oscilloscope	Oscilloscope_9	Tektronix	TDS 220	B045297	Mobile	30/11/2021
10	Oscilloscope	Oscilloscope_10	Hameg	HM303-6	HM 303-6 23/01 Z 18266	Rack Shelf 4	31/12/2021
11	Oscilloscope	Oscilloscope_11	Hameg	HM203-6	HM 203-6 49/86 Z 12103	Optical bench Vacuum Chamber	30/11/2021
12	Oscilloscope	Oscilloscope_12	Rhode & Schwarz	HM400	017311072	Rack Shelf 3	30/11/2021
13	Oscilloscope	Oscilloscope_13	Tektronix	TDS 2022B	C100393	Rack Shelf 3	30/11/2021
14	Oscilloscope	Oscilloscope_14	Hameg	HM303-6	HM 303-6 07/03 Z 29963	Rack Shelf 3	30/11/2021
15	Oscilloscope	Oscilloscope_15	Rigol	DS1104Z	DS1ZA172115127	Rack Shelf 5	31/12/2021
16	Oscilloscope	Oscilloscope_16	Hameg	HM2008	058320014	Mobile	Broken	Christmas scope
17	Spectrum Analyzer	Spectrum_Analyzer_1	Rhode & Schwarz	HMS1010	019508106	Mobile	31/01/2022
18	Spectrum Analyzer	Spectrum_Analyzer_2	Hameg	HM5012-2	HM 5012-2 14/03 Z 1074	Mobile	30/11/2021	Land Nds. Uni-Han 10205100-2003-44
19	Spectrum Analyzer	Spectrum_Analyzer_3	Hameg	HM5510	059250005	Rack Shelf 5	31/12/2021	Land Nds. Uni-Han 14111100-2010-04
20	Signal Generator	Signal_Generator_1	Rhode & Schwarz	SMC100A	1411.4002K02-108653-xg	Mobile	31/01/2022	Land Nds. Uni-Han 13602000-2021-39
21	Signal Generator	Signal_Generator_2	Rhode & Schwarz	SMB100A	1406.6000K02-114190-kw	Rack Shelf 4	31/12/2021	Land Nds. Uni-Han 14111500-2018-29
22	Signal Generator	Signal_Generator_3	Rhode & Schwarz	SMY 01	833999/007	Rack Shelf 4	31/12/2021	Land Nds. Uni-Han 02 05 00 – 237	Universität Bonn 940826 010
23	Signal Generator	Signal_Generator_4	Rhode & Schwarz	SMG	860118/047	Rack Shelf 4	31/12/2021
24	Signal Generator	Signal_Generator_5	Rhode & Schwarz	SML 01	836045/061	Rack Shelf 5	31/12/2021
25	Signal Generator	Signal_Generator_6	Rhode & Schwarz	SMC100A	1411.4002K02-106580-ac	Rack Shelf 5	31/12/2021	Land Nds. Uni-Han 14111500-2017-10
26	Function Generator	Function_Generator_1	Black Star	Jupiter 500	69730	Rack Shelf 4	31/01/2022
27	Function Generator	Function_Generator_2	Wavetek	29	055183	Rack Shelf 1	31/01/2022
28	Synthesizer	Synthesizer_1	Rhode & Schwarz	HM8134-3	019442639	Underneath Optical Table middle	31/01/2022
29	Pulse Generator	Pulse_Generator_1	Quantum Computers Inc	9314T	9314T-004-305	Rack Shelf 4	31/12/2021
30	Pulse Generator	Pulse_Generator_2	Quantum Computers Inc	9314T	9314T-004-304	Rack Shelf 4	31/12/2021
31	Power Supply	Power_Supply_1	EA Elektro-Automatik	EA-PS2012-05	2003510229	Power Supply Cabinet	31/01/2022	Wutz Rack Shutter Driver
32	Power Supply	Power_Supply_2	QJE	QJ3005EPK	None	Power Supply Cabinet	01/03/22	Triplet Rack AOM
33	Power Supply	Power_Supply_3	Statrom	3234	9209058	Power Supply Cabinet	-	TiSa AOM	Has no GND
34	Power Supply	Power_Supply_4	QJE	QJ3005EPK	267674	Power Supply Cabinet	31/01/2022	B-Field Compensation	GND Not Okay x1
35	Power Supply	Power_Supply_5	QJE	QJ3005E III	2009052	Power Supply Cabinet	31/01/2022	Bfield Stabilization
36	Power Supply	Power_Supply_6	QJE	QJ3005EPK	267687	Power Supply Cabinet	29/03/2022	Chamber AOM
37	Power Supply	Power_Supply_7	QJE	QJ3005E III	142204	Power Supply Cabinet	31/01/2022	Triplet Rack Laser Diodes	GND Not Okay x2
38	Power Supply	Power_Supply_8	QJE	QJ3003C III	13621	Power Supply Cabinet	31/01/2022	Triplet Regulation Electronics
39	Power Supply	Power_Supply_9	QJE	QJ3005EPK	None	Power Supply Cabinet	31/01/2022	Wutz-Rack AOM
40	Power Supply	Power_Supply_10	QJE	QJ3005EPK	None	Power Supply Cabinet	31/01/2022	Clock-Rack EDV
41	Power Supply	Power_Supply_11	EA Elektro-Automatik	EA-PS2316-050	2004160964	Power Supply Cabinet	31/01/2022	Triplet/TiSa Temperaturecontroller
42	Power Supply	Power_Supply_12	EA Elektro-Automatik	EA-PS2332-025	2491420198	Power Supply Cabinet	31/01/2022	Wutz Rack Regelelektronik
43	Power Supply	Power_Supply_13	EA Elektro-Automatik	EA-PS2332-025	2595840809	Power Supply Cabinet	31/01/2022	Clock Rack Regelelektronik	Check the cable with Dominika
44	Power Supply	Power_Supply_14	EA Elektro-Automatik	EA-PS2332-025	2535371027	Power Supply Cabinet	31/01/2022	TiSa Rack Regelelektronik
45	Power Supply	Power_Supply_15	EA Elektro-Automatik	EA-PS2332-025	2535371029	Power Supply Cabinet	31/01/2022	Kammertisch Regelektronik	Check the cable with Dominika
46	Power Supply	Power_Supply_16	Conrad Electronics	PS-2403D	N12/CP 1131-01	Underneath Optical Table middle	31/01/2022		GND Not Okay
47	Power Supply	Power_Supply_17	RND Lab	320-KA3305P	08250123303	Underneath Optical Table middle	31/01/2022
48	Power Supply	Power_Supply_18	Self built	None	None	Underneath Optical bench Large	31/01/2022	Power for Wutz PD	GND Not Okay
49	Power Supply	Power_Supply_19	Statrom	3234	9209070	Underneath Vacuum chamber	-	Homogeneous Magnetic Field	Has no GND
50	Power Supply	Oven_Power_Supply	Heinzinger	TN 300 – 120	12779963	above Rack 1	17/03/2022
51	HV Power supply	PMT_driver	Heinzinger	HN 2500-04		Rack Shelf 1	15/03/2022	Have fun ;-)	.... and yes, it IS possible!
52	3-Axis Piezo Controller	Piezo_Controller_1	Thorlabs	MDT693A	100712-08	Above Vacuum Chamber	31/01/2022	Enhancement Cavity mirror	Not connected
53	3-Axis Piezo Controller	Piezo_Controller_2	Thorlabs	MDT693A	130118-03	Above Vacuum Chamber	31/01/2022	Optical Dipole Trap Piezo
54	Single Channel Piezo Controller	Piezo_Controller_3	Thorlabs	MDT694A	101217-04	Above Vacuum Chamber	31/01/2022	285nm
55	Single Channel Piezo Controller	Piezo_Controller_4	Thorlabs	MDT694A	090921-02	Rack Shelf 2	31/01/2022
56	Single Channel Piezo Controller	Piezo_Controller_5	Thorlabs	MDT694A	110711-03	Rack Shelf 5	31/01/2022
57	3-Axis Piezo Controller	Piezo_Controller_6	Thorlabs	MDT693A	110208-01	Rack Shelf 3	31/01/2022	Land Nds. Uni-Han 13600920-2011-02	Transfer Cavity
58	3-Axis Piezo Controller	Piezo_Controller_7	Thorlabs	MDT693A	110729-07	Rack Shelf 3	31/01/2022	SHG 383nm
59	3-Axis Piezo Controller	Piezo_Controller_8	Thorlabs	MDT693A	070509-06	Rack Shelf 3	31/01/2022	DL1, DL2, DL4
60	Laser Diode Controller	Laser_Diode_Controller_1	Thorlabs	LDC 240 C	M00233550	Rack Shelf 5	31/12/2021
61	Laser Diode Controller	Laser_Diode_Controller_2	Thorlabs	LDC 240 C	M00225720	Rack Shelf 3	31/01/2022	TA3
62	Laser Diode Controller	Laser_Diode_Controller_3	Thorlabs	PRO 8000-4 (TED8040 & LDC8040)	M00223452	Rack Shelf 3	31/03/2022	Land Nds. Uni-Han 14111100-2007-09	TE/TA 1-3
63	Diode laser controller	S-MOT Laser	Toptica	DC110	DC 110/19" DS_01358	Rack Shelf 4	15/03/2022	S-MOT Laser	Not all BNC's grounded, regarding KMK AC cannot be there
64	Diode laser controller	Wutz Laser	Toptica	DC110	DC 110/19" _01004	Rack Shelf 4	15/03/2022	Wutz Laser	Not all BNC's grounded, regarding KMK AC cannot be there
65	Temperature controller	Temperature_Controller_1	Thorlabs	TED 350	M00233648	Rack Shelf 5	31/12/2021
66	Temperature controller	Temperature_Controller_2	Newport	350B	10175	Rack Shelf 4	31/12/2021		GND Not Okay
67	Temperature controller	Temperature_Controller_3	Thorlabs	TED 350	M00233649	Below optical bench middle	09/03/22	For Quenchlaser
68	Temperature controller	Temperature_Controller_Wutz	Selfbuild			Below Wutz	17/03/2022	Plastic Housing needs to be prep.
69	Beam Pointing Stabilization	Beam_Stabilization_1	TEM Messtechnik	BeamLock 4D v5.1		Above Vacuum Chamber	31/01/2022	Beam pointing stabilization 285nm
70	Shutter Driver	Shutter_Driver_1	BFi OptiLAS	VMM-D1	A 703336
71	TiSa Laser	TiSa_Laser_Source	M Squared	Ice Bloc SolsTiS Control Unit	M2-ICE-SOLS-0383349	Rack Shelf 2	31/01/2022
72	TiSa Pump Laser	TiSa_Pump_Laser	M Squared	Ice Bloc Equinox	0112592	Rack Shelf 2	31/01/2022
73	Magic SHG Driver	Magic_SHG_Driver	Toptica		DC 110/19" _02673	Rack Shelf 2	31/01/2022
74	Clock Laser SHG Driver	Clock Laser	Toptica	DC110	DC 110/12" _01211	Rack Shelf 5	15/03/2022	Clock Laser	Not all BNC's grounded, regarding KMK AC cannot be there
75	Fiber laser	Yb_Fiber_laser	MPB Communication Inc.	2RU-YFL-P-25-1078	2RU-1128-1748	Rack Shelf 4	15/03/2022	S-MOT

Vacuum Devices
1	4UHV Ion Pump Controller	Ion Pump Controller	Agilent Technologies	9299200	IT1530C477	above Rack 1	17/03/2022
2	Pfeiffer Vacuum TCP 121	Chamber Turbo Pump	Pfeiffer Vacuum	TCP 121	7034375	Above Vacuum Chamber	28/032022	close valve below vacuum chamber first
3	Pfeiffer Vacuum TPG 261	Vacuum_Oven	Pfeiffer Vacuum	TPG 261	PTG28030	Above Vacuum Chamber	28/032022
4	Pfeiffer Vacuum DCU 100	Oven Turbo Pump	Pfeiffer Vacuum	DCU 100	76050961	Above Vacuum Chamber	28/032022	close both magnetic valves first